
**Spectrum details**

Project New project Spectrum name Spectrum 1

**Electron Image**


Image Width: 196.8 µm



**Acquisition conditions**

Acquisition time (s) 50.0 Process time 4

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**

|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 2.906 | 1.885 | 16.167 |
| Tantalum | 97.094 | 1.885 | 83.833 |