**Spectrum details**

Project New project Spectrum name Spectrum 1

**Electron Image**


Image Width: 65.6 µm



**Acquisition conditions**

Acquisition time (s) 50.0 Process time 4

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**


|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 2.615 | 0.420 | 4.378 |
| Titanium | 97.385 | 0.420 | 95.622 |

**Spectrum details**

Project New project Spectrum name Spectrum 2

**Electron Image**


Image Width: 65.6 µm



**Acquisition conditions**

Acquisition time (s) 50.0 Process time 4

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**

|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 7.332 | 0.665 | 11.890 |
| Titanium | 92.668 | 0.665 | 88.110 |